Communication with

Rockwell CompactLogix  series

V1.0

Website: http://www.we-con.com.cn/en

Phone: 86-591-8786886

Overview

This document introduces the free label protocol steps for PI3070ig and AB 1769-L16ER-BB1B, which is divided into three parts:

⚫ 	Software Configuration of RSLinx Classic Lite

⚫  Software Configurations of PLC

⚫  Software Configurations of HMI

I Software Configuration of RSLinx Classic Lite

- 1.1 RSLinx Classic Lite

Figure 1-1

1.2 Configuring the Driver

1.Open the RSLinx Classic Lite software and click [Configure Drivers...] in [Communications].

Figure 1-2

- 2.Click the drop-down menu and select EtherNet/IP driver

Figure 1-3

- 3.Click Add New and a pop-up window will pop up. Name the driver and click [OK] in the pop-up window.

Figure 1-4

- 4.The configuration driver window pops up., click on the correct network adapter option (such as the ASIX USB to Fast Ethernet Family Adapter option in this picture), and click [OK].

Figure 1-5

- 5.Click the [Close] button

Figure 1-6

II Software Configurations of PLC

2.1 Stuido5000

Figure 2-1

2.2 New project

1.Open Stuido5000 and create a new project or open an existing project.

To create a new project: click [New Project].

Figure 2-2

2.Click the [1769-L16ER-BB1B]→ Edit Project Name → Select the file storage location → [Next]

Figure 2-3

3. Select the software version →Select [Expansion I/O] number→ Security Authority → Click [Finish].

The software version must be the same as the PLC firmware version, and the Security Authority protection should be selected according to personal needs.

Figure 2-4

2.3 Create a new tag

1.Click the drop-down menu on the left of [Controller ABcs]→ Right-click [Controller Tags] → Click [New tag].

Figure 2-5

2.Input tag name → Select tag type → Create

Figure 2-6

2.3 Establishing communication

1.Click [Communications]→Click[Who Active].

Figure 2-7

2.Select the drive → Select the corresponding PLC →Click [Go Online].

The driver is a new created driver from step 1.2

Figure 2-8

3.Click [Download]

Figure 2-9

4.Click [Download]→ [YES].

Figure 2-10

Figure 2-11

2.5Export Tags

1.Click the drop-down menu on the left of [Controller ABcs]→Right-click [Controller Tags]→ Click [Export Tags].

Figure 2-12

2.Edit the tag file name → Select the file storage location → [Export].

Figure 2-13

Ⅲ Software Configurations of HMI

3.1 PIStudio

Figure 3-1

3.2 New project

1.[Home]→[New]→[New project]→Set the name,series and model of HMI→[Next]→[Screen style] →[OK].

Figure 3-2

3.3 Communication configuration

① [Project]→[Communication]→[Setting]

Figure 3-3

② Choose protocol:

Device type [Rockwell]→[Rockwell EtherNet/IP(CompactLogix Series)]→[OK]

Figure 3-4

③[Setting]→[PLC IP Address]→[OK]→[Labels manage].

Figure 3-5

④Tags import:

[Import Tags From File]→Choose the .CSV file→[Open]→[Save]→[OK]

Figure 3-6

3.4 Project making

①Using PIStudio to program a HMI project depending on the requirements.

Figure 3-7

②After programming[Compile], you can download the project into HMI when compilation complete.

Figure 3-8