Communication with

Rockwell Micro850 Series

V1.0

Website: http://www.we-con.com.cn/en

Phone: 86-591-8786886

Overview

This document introduces the free tag protocol steps for PI3070ig and AB 2080-LC50-24QBB, which is divided into three parts:

⚫ 	Software Configuration of RSLinx Classic Lite

⚫  Software Configurations of PLC

⚫  Software Configurations of HMI

I Software Configuration of RSLinx Classic Lite

- 1.1 RSLinx Classic Lite

Figure 1-1

1.2 Configuring the Driver

1.Open the RSLinx Classic Lite software and click [Configure Drivers...] in [Communications].

Figure 1-2

- 2.Click the drop-down menu and select EtherNet/IP driver

Figure 1-3

- 3.Click Add New and a pop-up window will pop up. Name the driver and click [OK] in the pop-up window.

Figure 1-4

- 4.The configuration driver window pops up., click on the correct network adapter option (such as the ASIX USB to Fast Ethernet Family Adapter option in this picture), and click [OK].

Figure 1-5

- 5.Click the [Close] button

Figure 1-6

II Software Configurations of PLC

2.1 Connected Components Workbench

Figure 2-1

2.2 New project

1.Open Connected Components Workbench and create a new project or open an existing project.

To create a new project: click [New Project]→Edit project name→Click [Browse]select project storage location→Click [Create].

Figure 2-2

2.Click the [Controllers]→ [Micro850] → Select device model → [Add To Project].

Figure 2-3

2.3 Create a new tag

1. Double click [Global Variables]→Right click on a blank space in the table→ Click [Add Variable].

Figure 2-4

2.3 Establishing communication

1.Right click[Micro850]→ Click [Properties].

Figure 2-5

2.Select Controller → Ethernet →Configure the IP address of the PLC.

Figure 2-6

3.Click [Download]→Choose your device→Click[OK].

Figure 2-7

4.Click[Download].

Figure 2-8

2.5Export Tags

1. Right click [Micro850]→Click [Export]→Click [Variables].

Figure 2-12

2.Edit the tag file name → Select the file storage location → [Export].

Figure 2-13

Ⅲ Software Configurations of HMI

3.1 PIStudio

Figure 3-1

3.2 New project

1.[Home]→Click[New]→Set the name,series and model of HMI→[OK].

Figure 3-2

3.3 Communication configuration

1.[Project]→[Communication]→[New]→Device type [Rockwell]→Device type[Rockwell]→[Rockwel EtherNet/IP(Micro850 Series)]→[OK]→Edit Device IP→[Labels manage]→Import label file→[OK].

Figure 3-3

3.4 Project making

1.Using PIStudio to program a HMI project depending on the requirements.

Figure 3-7