Communication with

Wecon LX6V

V1.0

Website: http://www.we-con.com.cn/en

Phone: 86-591-8786886

Overview

This document describes the communication between Wecon HMI PI3070ig and Wecon LX6V via Ethernet port, and introduces it in three parts:

⚫  Software Configurations of PLC

⚫  Software Configurations of HMI

⚫ 	Cable Wiring

I Software Configurations of PLC

  - PLC programmer software

Figure 1-1

1.2 New PLC project

Open Wecon PLC Editor2, create a new project or open the project that has been created.

Create new project:[New Project]→PLC Series:[LX6CPU]→PLC Model:[LX6V]→Programming language:[Ladder]→[OK]

Figure 1-2

1.3 Viewing/Configuring Ethernet Port Parameters

PLC Default Parameters:[Parameter]→[PLC parameter]→[Ethernet settings]:

Whether to set:[True];Whether to enable DHCP:[False];

IP address:[192.168.1.8];Subnet mask:[255.255.255.0];Default gateway:[192.168.1.1]

Figure 1-3

1.4 Create and Export the Freetags

①[Program]→[Global variable]→[GVL]→Create the Freetags you need,notice the Category and Type of data

✎Note: Only global variables can be exported normally

Figure 1-4

②[File]→[Export label]

Figure 1-5

③Set the Name and Type→[Save]→[OK]

Figure 1-7

Figure 1-8

1.5 Programming PLC project

Using Wecon PLC Editor2 to program a PLC project depending on the requirements.

Figure 1-9

1.6 PC and PLC connection

①[Transfer Setting]→Choose the communication setting with PLC→[OK]

Figure 1-10

1.7 Downloading PLC project

[Write to PLC]→[Param+Program]→[Execute]

Figure 1-11

II Software Configurations of HMI

2.1 PIStudio

Figure 2-1

2.2 New project

[Home]→[New]→[New project]→Set the name,series and model of HMI→[Next]→[Screen style] →[OK].

Figure 2-2

2.3 Communication configuration

① [project]→[communication]→set the protocol and com parameters

Figure 2-3

② Choose protocol:

select connection→[setting]→[communication device]:[communication]Ethernet, [Protocol]Ethernet, [Device type]WECON,[Protocol]WECON LX6V EtherNet/IP→[OK]

Figure 2-4

③Device IP setting:

[Setting] →[PLC IP Address]:192.168.1.8→[OK].

✎Note: Device IP parameters and PLC parameters need to be set consistently, please set them according to theactual situation.

Figure 2-5

④Labels import:

[Labels manage]→[Import Tags From File]→Choose the .CSV file you need→[Open]→[Save]→[OK]

Figure 2-6

2.4 Project making

①Using PIStudio to program a HMI project depending on the requirements.

Figure 2-7

②After programming[Compile],you can download the project into HMI when compilation complete

✎Note:Our HMI is V2.0 now.and this message just a notice.Does not affect the use.

Figure 2-8

2.5 Downloading project

[Home]→[Download]→[PC Port]→[PC to HMI]→[OK].

Figure 2-9

III Cable Wiring

3.1 Cable Wiring

Pin Definition Diagram：

Figure 3-1