## Slide 1
Lua Script: MQTT & OpenCloud
福州富昌维控电子科技有限公司
FUZHOU FU CHANG WECON ELECTRONICS TECHNOLOGY CO.,LTD
Presented by Hunter

## Slide 2: Previous Tips
Relevant Traning on Lua MQTT Client
https://docs.we-con.com.cn/bin/view/PIStudio/3%20Video/Script/

## Slide 3: Catalog
What is OpenCloud
1
2
Huawei IOTDA Setup
3
Product Model Data Create
4
OpenCloud Function Demonstration

## Slide 4
What is OpenCloud

## Slide 5: OpenCloud
OpenCloud is an "advanced version Lua MQTT"

## Slide 6: OpenCloud
For V-BOX:
We need to use the another OpenCloud platform rather than V-NET platform;
On this OpenCloud platform we will be able to upload certificate file;
OpenCloud designated functions;

## Slide 7: OpenCloud
For HMI:
OpenCloud configuration tab on PIStudio;
OpenCloud designated functions;

## Slide 8
HUAWEI IoTDA Setup

## Slide 9: HUAWEI CLOUD
Find the option of IoT Device Access;

## Slide 10: HUAWEI CLOUD
Create Product;

## Slide 11: HUAWEI CLOUD
Protocol must be MQTT;
Data Type must be JSON;
And others field set as user's required;

## Slide 12: HUAWEI CLOUD
[Device]-[All Devices]-[Individual Register];

## Slide 13: HUAWEI CLOUD
Register the Device;
After register is done, we would get the Device IP and DeviceSerect;

## Slide 14: HUAWEI CLOUD
Using the online MQTT ClientId Generator to generate the MQTT parameter: Client ID, Username, Password:
https://iot-tool.obs-website.cn-north-4.myhuaweicloud.com/

## Slide 15: HUAWEI CLOUD
Check which server node and which edition we are using, and download the corresponding Device certificate file if using the secure MQTT port 8883(Optional);
https://support.huaweicloud.com/en-us/devg-iothub/iot_02_1004.html

## Slide 16
Product Model Data Create

## Slide 17: Device Data Report
[Product]-[View];

## Slide 18: Device Data Report
[Customize Model];

## Slide 19: Device Data Report
Add the service;

## Slide 20: Device Data Report
Add the property as we need;

## Slide 21: Device Data Report
According to the created data to construct the JSON format;
{"services":
[
{
"properties":
{
"fanSpd":50,
"run":"0"
},
"service_id":"fanInfo"
}
]
}

## Slide 22: Device Data Report
Publish the JSON message by MQTT test tool, if it is showing the result on the Product Model Data, which means our construct data is OK;
The topic format should be $oc/devices/{device_id}/sys/properties/report

## Slide 23: Device Data Report
Above all the content are refer from the HUAWEI CLOUD Help Center, please check the following link if there is still not clear:
https://support.huaweicloud.com/en-us/devg-iothub/iot_02_1004.html

## Slide 24
OpenCloud Function Demonstration

## Slide 25: OpenCloud
[Cloud]-[OpenCloud]

## Slide 26: OpenCloud
Add the new group;
Add the channel we want to report(group name and channel name should be consistent with the service name on the platform);

## Slide 27: OpenCloud
Using the corresponding function to get the group and data info and put into the message we want to publish;
local groupInfo = cloud.get_groupdesc()
local serviceName = groupInfo[1][2]
local fangroup = cloud.get_groupdata(serviceName)
local property1 = fangroup[1][3]
local property2 = fangroup[2][3]
local fan = {}
fan[1] = {
properties = {
fanSpd = cloud.get_data(property1),
run = cloud.get_data(property2)
},
service_id = serviceName
}
local pub_data = {
services = fan
}
mqtt_publish(PUBLISH_TOPIC, json.encode(pub_data))

## Slide 28: OpenCloud
We can utilize some opencloud functions according to the user scenario requirements;

## Slide 29: OpenCloud
We can utilize some opencloud functions according to the user scenario requirements;

## Slide 30: OpenCloud
We can utilize some opencloud functions according to the user scenario requirements;

## Slide 31
THANK YOU!