Communicate　with

Mitsubishi FX Series

Website: http://www.we-con.com.cn/en

Technical Support: support@we-con.com.cn

Skype: fcwkkj

Phone: 86-591-87868869	EXT 8

1.General

This example introduces how to establish communication between Wecon VBOX and Mitsubishi FX Series　PLC.

VBOX side: COM1(DB9) interface

PLC side: 8-pin circular port

2.Operation Steps

2.1 VBOX communication settings

Configuration>>Communication>>Add new port>>Set the communication parameter as below:

2.2 Establish connection

VBOX uses the COM1 port, and the PLC uses 8-pin circular port

The pin connections are as follows:

H series VBOX COM1 Pin Definition

2.3 Notification

This example is for FX3U, and it is the same for establishing other FX series communication operations. Only need to modify the protocol for corresponding model.