Communicate with VB Inverter

Website: http://www.we-con.com.cn/en

Technical Support: support@we-con.com.cn

Skype: fcwkkj

Phone: 86-591-87868869	EXT 88

1.General

This example introduces how to establish communication between Wecon VBOX and Wecon VB inverter. And the communication protocol is Modbus RTU RS485.

2.Operation Steps

2.1 VBOX communication settings

Configuration>>Communication>>Add new port>>Set the communication parameter as below:

2.2 VB inverter communication address

2.3 Establish connection

The VBOX uses the COM1 port, and the inverter uses the RS485 port(RS+ and RS-)

VBOX COM1 port pin 1 is connected to Inverter RS+ terminal

VBOX COM1 port pin 6 is connected to Inverter RS- terminal

The pin connections are as follows:

H series VBOX COM1 Pin Definition

VB inverter terminals